## Sheet1
OpenSeizureDetector Android App
Pre-Release QA Checks
App Version:
Tested By:
Test Date:
Item | Description | Expected Result | Actual Result | Notes
1 | SetUp
1.1 | Uninstall any previous versions of OpenSeizureDetector | n/a
1.2 | Install Test APK | n/a
1.3 | Clear Data from phone settings→Apps→OpenSeizureDetector→Storage | n/a |  | Ensures fresh install with default settings.
2 | Start-Up / Shutdown
2.1 | Start OpenSeizureDetector | 'Welcome to OpenSeizureDetector’ dialog displayed with working links to Privacy Policy and Data Sharing Page. Pressing ‘CLOSE’ displays a batter usage optimisation warning. Pressing OK displays the startup screen with data source set to ‘Phone’. All start-up checks complete within 10 sec and main activity starts.
2.2 | Wait for 1 minute | Main activity should show that data sharing is not logged in. After 1 minute there should be a ‘data sharing problem’ notification displayed that will take the user to the login screen.
2.3 | Select ‘Start/Stop Server’ menu item. | Main screen should show ‘Server Stopped’. Notification should disappear from top of screen.
2.4 | Select ‘Start/Stop Server’ menu item. | Main screen should change to ‘Server Running OK’ with ‘FAULT’ replaced by large ‘OK after less than 10 seconds.
2.5 | Select ‘Accept Alarm’ menu item. | Nothing happens – notifications remain displayed. |  | This is a check that it does not crash the system when there is no standing alarm.
3 | Data Sharing Menu Items (when not logged in)
3.1 | Select ‘Report Seizure’ | A ‘Not Logged in to data sharing’ dialog appears. Pressing OK returns to Main Activity.
3.2 | Select ‘Data Log Manager’ | Data log manager screen appears with ‘not logged in’ next to “LOG IN” button. 'Number of Datapoints sored on phone’ value should increment every 5 seconds. Press back button to exit data log manager and return to main activity.
3.3 | Select ‘Data Sharing Login’ | Login activity should display. “About Data Sharing” and “Privacy Policy” buttons should open relevant web pages when pressed. Press back button to return to main activity.
3.4 | Select ‘About Data Sharing’ | Dialog with brief description of data sharing displayed, with working link to data sharing page.
4 | Alarm Menu Items
4.1 | Select ‘Install Watch App’ | Open installation instructions web page.
4.2 | Select ‘Test Alarm Beep’ | Alarm beep sound should play.
4.3 | Select ‘Test Warning Beep’ | Warning beep sound should play.
4.4 | Select ‘Test SMS Alarm Notification’ | A ‘Toast’ Message should display saying that SMS alarms are not enabled, so not doing anything.
4.5 | Select ‘About’ menu item. | Dialog should display with information about the app and working links to privacy policy and data sharing page.
4.5 | Select ‘Settings’ menu item | Settings page should display showing 4 settings headings (General, Alarms, Data Sharing and Seizure Detector) Selecting each category in turn should display a page of settings without error.
5 | SMS Alerts
5.1 | Select settings→Alarms setting page. | Alarms setting page displays.
5.2 | Select SMS Alarm numbers, and enter a working mobilephone number – it can be the number of the test phone if required. | settting updated without error. OSD server re-starts with notification being re-displayed with notification sound. |  | There is no checking that the telephone number is valid.
5.3 | Select ‘SMS Message’ and edit it to something different to the default. | Message updated without error and OSD server re-starts
5.4 | Select ‘Enable SMS Alarm’ | Full system re-start (back to start-up screen), with the following dialogs shown: - Permissions disclosure for ‘Read phone state and send sMS messages’, followed by prompts to grant the permissions. - Permissions discolosure for ‘collects location data’, followed by prompt to grant permission while using the app. - Permissions disclosure for ‘collects location data’ ‘when the app is closed or not in use’, followed by prompt to ‘Allow all the time’ - Warning about battery usage optimisation. - Then start-up screen exits and main app is displayed.
5.5 | Check the OSD notification text. | It should say ‘SMS Loation Alarm Active’
5.6 | Select ‘Test SMS Alarm Notificatin’ | Beeping with button displayed on main screen to allow the user to cancel the SMS alert within a 10 seconds count-down.
5.7 | Allow 10 seconds countdown to time-out | Within a few seconds an SMS text message should appear on the phone specified in the settings.
5.8 | Wait 2 minutes | Within 2 minutes a second SMS alert should arrive that contains a google maps link.
5.9 | Repeat 5.6-5.8 with airplane mode enabled. Then switch off airplane mode | A ‘Toast’ Message should display saying Error, failed to send SMS message. |  | SMS may send when airplane mode removed?
5.10 | Go into phone settings→apps→openseizuredetector and remove the granted permissions. Repeat 5.6-5.8 | If system is re-started, the permissions prompts will re-display. If permissions are not granted, start-up screen will get stuck promting user to go into the phone settings to check permissions. Use notification to display the main activity. If location permission has been denied, but SMS granted, SMS should send but without location. If SMS or phone permissions not granted, should display a ‘FAILED TO SEND SMS’ toast message.
5.11 | Go to settings→Alarms and disable SMS alarms. | n/a
6 | Data Sharing
6.1 | Select ‘Data Sharing Log-in’ menu item. | Login activity should display. “About Data Sharing” and “Privacy Policy” buttons should open relevant web pages when pressed. Press back button to return to main activity.
6.2 | Select ‘Register New User’ | osdapi web page for new user registration should display.
6.3 | Select ‘Reset Password’ | osdapi web page for password reset should display.
6.4 | Enter valid username and INVALID password. And press Login | Should see a toast message ‘Erorr Authentication Failed’, and stay on authentication screen.
6.5 | Enter valid username and VALID password. | Shoudl see a ‘login successful’ toast message and display should change to say logged in as <userid> (username).
6.6 | Press back to go back to main activity. | Mian display should show “Data Sharing Setup OK”, and ‘Problem with data sharing’ notification should disappear.
6.7 | Select ‘Report Seizure’ menu item. | Report seizure display appears.
6.8 | Select time 3 minutes before current time. And set type to ‘False Alarm’ and sub-type to ‘other’. Add the word ‘testing’ to the notes, then press ‘OK. | 'Event Created Successfully’ toast message displayed briefly.
6.9 | Select ‘Data Log Manager’ menu item. | The shared data page should show the new false alarm event created ok.
6.10 | Return to main activity and press the ‘Raise Alarm’ button. | Alarm beep sounds and ‘SMS Alarms disabled’ toast message appears.
6.11 | Wait 3 minutes | Unvalidated events notification should appear.
6.12 | Click on Unvaliated events notification icon. | Data Log Manager screen should appear, with the new, unvalidated event highlighted in pink.
6.13 | Click on the unvalidated event | The Edit Event screen should appear.
6.14 | Select the even type to be ‘False Alarm’, sub-type to be ‘Other’ and set the notes to read ‘testing’, then press ‘Save’ | An “Event Updated OK” toast message should appear and the data log manager screen should be displayed. The event should no longer be highlighted as unvalidated.
6.15 | Wait 1 minute | The ‘Unvalidated Events’ notification should disappear.
6.16 | Enable Airplane Mode | Main screen should show “Data Sharing: No Network Connection’ warning.
6.17 | Select ‘Report Seizure’ | Toast message saying ‘Error Retrieving Event Types from Server’
6.18 | Enter a date and time about 3 minutes before the current time. Set the notes to ‘testing’ and press OK | A ‘Seizure Event Created’ notification should appear.
6.19 | Select ‘ Data Log Manager’ from main activity | Should display a ‘Error Retrieving Remote Events’ toast message.
6.20 | Select ‘Local Data’ | The list of local events should include the one just reated. It will not include an eventID at the end of the row because it has not been uploaded.
6.21 | Switch off Airplane Mode. | n/a
6.22 | Return to main activity and wait ~3 minutes. | The ‘Un-Confirmed Events’ notification should appear
6.23 | Select ‘ Data Log Manager’ from main activity | The new reported event should appear highlighted as being un-validated.
6.24 | Select “Mark Unverified Events as Unknown” | Dialog box appears asking for confirmation, then a “No more unvalided events’ toast message appears.
6.25 | Press the ‘Refresh’ button | The new event should no longer be highlighted an dthere will be a note sayign it has been set to Unknown automatically.
6.26 | Select ‘Prune Database’ in the data log manager menu. | Confirmation dialog should appear, but the command has no effect because all data is less than 28 days old.
7 | Phone Data Source
7.1 | Shake the phone gently for 20 seconds. | Phone should generate a WARNING followed by an ALARM alert sound.
7.2 | Select ‘Data Log Manager’ | The new event will not be displayed in the Shared Data page, but should be present in the Local Data page
7.3 | Wait 3 minutes to allow the new events to be uploaded, then press the ‘Refresh’ button on the Shared data page of Data Log Manager. | The new warning and ALARM event(s) should be highlighted in pink as being unvalidated. Unavalidated event warning notification should apper.
7.5 | In the data log manager, select ‘Mark Unverified Events as Unknown’ and confirm the request. Then press ‘Refresh’ | Events should no longer be highlighted.
8 | Garmin Data Source